CSSD Checklist

| Sr. No. | Objective Element | Requirements | Yes | No |
| --- | --- | --- | --- | --- |
| 1 | COP 8f | Is adequate space and zoning for sterilization activities demarcated. |  |  |
| 2 | COP 8f | Is the layout - Unidirectional flow, segregation of areas demarcated. |  |  |
| 3 | COP 8f | Is there documented policies and procedures on cleaning, packing, disinfection and/or sterilization, storing and issue of items. |  |  |
| 4 | COP 8f | Is reprocessing of instruments and equipment, policies and procedures documented. |  |  |
| 5 | COP 8f | Is shelf life of sets & sterile sets in OT adhered. |  |  |
| 6 | COP 8f | Is regular validation testing at least chemical indicator for sterilization carried out and documented. |  |  |
| 7 | COP 8f | Is there a recall procedure when breakdown in sterilization system occurs. |  |  |
| 8 | COP 8f | Is there a re-use medical devices policy. |  |  |