Provisions for Safe Water, Electricity, Medical Gas and Vacuum Systems Checklist

| Sr. No. | Objective Element | Requirements | Yes | No |
| --- | --- | --- | --- | --- |
| 1 | FMS 3 a | Is potable water and electricity available round the clock? |  |  |
| 2 | FMS 3 b | Are cleaning records of water tanks documented? |  |  |
| 3 | FMS 3 b | Are the varied sources of water available around the clock documented? |  |  |
| 4 | FMS 3 b | Is there documentation on the testing of generators and availability of electricity round-the-clock? |  |  |
| 5 | FMS 3 c | What are the protocols for operating medical gas and vacuum installations? |  |  |
| 6 | FMS 3 c | Are daily, weekly, monthly, and annual maintenance schedules of medical gases available? |  |  |
| 7 | FMS 3 c | Are the medial gas pipelines uniformly color coded? |  |  |
| 8 | FMS 3 c | Is adequately trained staff for management of medical gas installations and vacuum installations available? |  |  |
| 9 | FMS 3 c | Is there an appropriate back up of oxygen cylinders to handle any emergencies that arise out of failure of pipe medical gases available? |  |  |
| 10 | FMS 3 c | Are appropriate personal protective devices such as earmuffs and rubber gloves for the staff managing installations made available? |  |  |
| 11 | FMS 3 c | Are records of tank pressure in case of liquid medical oxygen and Oil level belt, tension, auto drain in case of vacuum pumps, and air compressor maintained? |  |  |
| 12 | FMS 3 c | Are records of checking of medical gas outlets in the clinical areas for pressure range and leaks maintained? |  |  |
| 13 | FMS 3 c | Are safety signages displayed? |  |  |
| 14 | FMS 3 c | Are empty and filled cylinders stored separately? |  |  |
| 15 | FMS 3 c | Is a bypass of oxygen in case of emergency and backup available? |  |  |
| 16 | FMS 3 c | Are valve shutoff in different loops available? |  |  |
| 17 | FMS 3 c | Can the secure chaining of cylinders be demonstrated? |  |  |
| 18 | FMS 3 c | is there a documentation of loading and unloading of cylinders? |  |  |